W.2	Check for water leaks

Hundreds of gallons of water are lost through leaks. Large leaks can lead to water damage, mold, and other issues. Regularly checking for leaks will help you reach water efficiency goals for the property.

To be eligible for this point

- Use the checklist to inspect for water leaks

- Conduct regular water leak inspections as part of the property’s preventive maintenance program

To claim this point

- Submit the completed checklist with the application

| Water leak inspection checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inspection conducted by |  |  |  |  |
| Date(s) |  |  |  |  |
| Date(s) of last inspection |  |  |  |  |
| Water system |  |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check the water meter(s) and lines running into them |  |  |  |
| Check the property’s “wet wall(s)”—the walls that carry the main water lines |  |  |  |
| Check water supply lines |  |  |  |
| Check water return lines |  |  |  |
| Check for failing, freezing, or worn pipes. Connections, fittings, and valves need close inspection. |  |  |  |
| Check water heater(s) for leaks |  |  |  |
| Restrooms |  |  |  |  |
| Restroom #1 item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #2 item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #3 item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #4 item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #5 item | OK | Not OK | Notes or action required |
| Check toilets |  |  |  |
| Check faucets |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #6 item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Landscaping/irrigation |  |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check irrigation lines |  |  |  |
| Check irrigation spigots |  |  |  |
| Ensure spigots are properly positioned and not spraying onto pavement |  |  |  |
| Check for signs of underground leaks—pooled water, swampy ground, moldy areas, or sunken earth |  |  |  |
| HVAC system |  |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check equipment room(s) for pooled water and unusual condensate |  |  |  |
| Check seams, gaskets, and seals on all HVAC units |  |  |  |
| Check condensate pans for overflow |  |  |  |
| Check for clogged condensate drain |  |  |  |
| Check evaporator coils |  |  |  |
| Check circulating pumps for leaks around seals and packing |  |  |  |
| Check all pressure relief valves |  |  |  |
| Check all automatic air vents |  |  |  |
| Check back flow preventer for proper function |  |  |  |

Alternative documentation
Instead of this form, you may submit the following to IREM®:

- Copy of any checklist used