W.3	Install high-efficiency fixtures

Along with operational changes to increase water efficiency, a property can reduce water use with high-efficiency fixtures. Faucets, toilets, urinals, and showerheads are all available as high-efficiency models under the water use standards in the table on the next page.

To be eligible for these points

- At least 75% of applicable water fixtures must be high-efficiency models by meeting one of the standards detailed on the next page

To claim these points

- Complete the table below

- Submit the form with your application

| Fixture type | How many fixtures are there total at the property? | How many of that total are high-efficiency models? |
| --- | --- | --- |
| Toilets |  |  |
| Urinals |  |  |
| Public lavatory faucets |  |  |
| Private lavatory faucets |  |  |
| Totals |  |  |
| Percentage high efficiency (Total high efficiency ÷ total overall x 100) |  |  |

Alternative documentation
Instead of this form, you may submit one of the following to IREM®:

- Work order or invoice for fixtures

Eligible water efficiency standards for fixtures

| Standard | Toilets (gpf) | Urinals (gpf) | Public lavatory faucets (gpm) | Private lavatory faucets (gpm) | Kitchen faucets (gpm) | Showerheads |
| --- | --- | --- | --- | --- | --- | --- |
| High-efficiency | 1.28 | 0.125 | 0.5 | 1.5 | 2.2 | 1.5 |
| EPA WaterSense | 1.28 | 0.5 | 0.5 | 1.5 | N/A | 2.0 |